## Slide 1
Geometric Process Control Technology
A Tutorial

## Slide 2: Geometric Process Control (GPC)
This tutorial is designed to help you understand the basics of how GPC technology works.
Curvaceous Clients include:
- AstraZeneca - GlaxoSmithKline
- Aughinish Alumina - INEOS Chlor
- BAE systems - Lafarge Cement
- BP - Nestle
- Cabot - Pilkington Glass
- Dow Corning - Shell
- DSM - Tyco Healthcare

## Slide 3
GPC utilises existing process history data which most Process Managers have coming out of their ears but don’t know what to do with…Not anymore!
Above is an example of a 5 variable process with 6 samples. The example shown is a tiny data-set for simplicity - GPC can handle hundreds of variables (columns) and tens of thousands of samples (rows). One picture speaks a thousand words or numbers in this case as GPC uses a novel transformation to view all the data on one graph.
Make use of what you have…

## Slide 4: Parallel Co-Ordinates
Traditional graphs are restricted to a maximum of 3 variables. A single point plotted on a 3D graph in the traditional, orthogonal, manner is shown below and transformed into parallel co-ordinates.
Each axis has its own scale, and the data point is described as a polygonal line connecting the individual axis values. To recap: a point in Cartesian co-ordinates is represented by a line in parallel co-ordinates. Adding more dimensions to the parallel co-ordinate plot simply involves adding more axes to the right of the plot and extending the polygonal line to join up with the new points. It really is as simple as that.
Parallel co-ordinate representation provides a method of visualising hundreds of variable interactions on one 2D graph. It is the first and fundamental concept of GPC.

## Slide 5: One point in time…
Plotting all of the process variables (P1 – P14) and their associated qualities (q4 – q8) with measurements taken at one point in time forms a single line.
Of course, a single point of operation is not going to tell us very much at all about our process.
The real power of GPC is seen when you plot many points together, and then use intelligent scaling algorithms combined with elegant queries to bring out relationships that just cannot be seen with any other method.

## Slide 6: The entire process…
This graph shows the data set displayed in parallel co-ordinates. There are 21 variables plotted on the display including Day and Time.
The set consists of 996 data points (remember a 'data point' is visualised as one complete line). So now we have the 'raw data' in GPC we can move on to quickly pulling out juicy observations.

## Slide 7: Analysis
Queries can now be added to the plot to determine how the process actually operates. 5 quality ranges are shown by the red arrows below. GPC highlights, in yellow, every point which passes through every quality range indicating good product. If the specification limits or queries are changed, GPC show’s instantly how the process reacts.
GPC tells us that the yield (ratio of black to yellow lines) is 12% (as shown at the bottom of the screenshot). For the case of this particular process, only 12% good product was a shock as everyone from the MD down firmly believed they were making at least 50% good product.

## Slide 8: Wising up…
Now the operating zone has been highlighted many observations can be made.
Examples:
Good product is only being made between 10am and 2pm (green arrows).
The quality variables can be set to much stricter specifications (blue arrows).

## Slide 9: Bad Operation…
The black areas are those in which no good product is ever made. Black extremities are regions of black that fall entirely at the edge of a range. Black extremities are one of the most obvious and easy to correct problems by simply changing operating instructions or altering process control limits. The benefits are immediate and the cost of implementation is virtually nil. The next question for most Operators is: 'How much will yield improve with these new operating limits?'.

## Slide 10: Best Operation
The Best Operating Zone (BOZ) is where operation creates only good product. Why not take it one step further and create a super product? The blue points are points within the yellow zone that produced products which satisfied the first round of specifications. The yellow points are, as before, the points that produced only good product with relation to the second stricter set of specifications; the new Best Operating Zone (BOZ). The variables are now ordered by how much they affect the yield with the most important on the left.
The two percentages at the bottom show that the number of blue points are 39% of the dataset and the number of yellow points are 12%. So our new yield has jumped to 12/39 = 30% from 12%. A yield improvement of 250%!

## Slide 11: Value
This is incredibly valuable information as it shows where to focus often limited resources, for the fastest business benefit.
In this case the biggest contributor to bad product is the time of day, which means sorting out the two shifts to get them operating cohesively.
The next most critical parameter is P10, so we need to get our over-worked control engineers to focus on getting that particular control loop within its new limits as a priority. And even better, we can show them WHY we are asking them to work on that loop by showing them the diagrams. No one needs to understand mathematics. The most valuable people are those who have good process knowledge; and they work for you already. To sum up this short tutorial: From one display we have gained more knowledge than previously possible in hundreds of pages of analysis. On top of that we have performed the analysis very quickly. In fact it took about as long to perform the analysis as it did for you to read this explanation of it.
But this is just the first stage of GPC technology…

## Slide 12: Just the beginning…
The other stages of GPC encompass interactive and dynamic process modelling as well as including the first ever method to calculate precise alarm limits.
As in this example displaying automatic correction advice for three alarms as the blue operating points move outside the green BOZ.
These alarms are on NO, NO2 and NOX in a CHP process. The process is instantly corrected to return these values inside the BOZ therefore minimising emissions.
GPC can be run in real-time for maximum process optimisation.

## Slide 13: How does this apply to me?
This example has been used to indicate the simplicity yet strength of GPC technology. There is much more to GPC than is contained in these few slides and indeed development continues as Curvaceous expands.
Most processes aim to maximise yield whilst minimising costs; as does the process example portrayed in this tutorial.
Many other factors can be specified as significant throughout an investigation. Emissions levels can be analysed and improved upon as well as energy efficiency and fuel consumption for example. The following slide displays an emissions example. Process analysis, control, improvement and optimisation are all carried out through GPC.
There are over 85 Curvaceous customers throughout the process industries already using GPC to get good benefits.
"Curvaceous cut our process losses by 40% and de-bottlenecked part of our process - all for zero capital cost."
Senior Process Engineer, Mallinckrodt Chemicals Ltd. Chesterfield, UK.
“The Curvaceous guys were telling us things we didn’t know about our process in under six hours that we had just spent three months trying to discover.”
Process Control Manager, Huntsman Petrochemicals, Wilton, UK
"Curvaceous let us see, feel and manipulate our plant numbers for profit."
Principal Control Engineer, Aughinish Alumina, Co. Limerick

## Slide 14: The Whole Story in One Picture - Emissions This is an example of analysis of a gas turbine. It not only relates to carbon dioxide emissions but other gases as well. It can be seen that clusters of similar values of NOX,O2,CO2,CO formed. Pink and yellow represent operation ‘before’ whilst blue and turquoise denote the possibilities ‘after’. Note the substantial difference in NOX levels; the red triangle indicates the permissible maximum. The Fuel has been reduced to the lowest level incorporating both ‘before’ and ‘after’ operation so that the power generated in each band can be seen. These 4 modes of operation clearly show emissions being reduced with GPC.